## Sheet1
Energy Calculations 26 Luss Rd, G51 3YD - Heat Pump, gas & Solar with Feed in Tarrifs (FIT) | [8 empty] | "Grid" = imported grid electric |  |  | "Gas" = gas volume cubic metres (m3) or @ 11.3 kWh/m3 |  |  |  |  | "Solar" = metered solar output kWh ("units") |  |  |  |  | FIT = solar Feed-In Tariffs
FIT gen | 0.1544 |  | FIT exp | 0.045 |  | FIT total | 0.1769 |  | Standing Charges |  | 0.16443 |  |  | C02 Elec intensity kg |  | 0.525 |  |  |  | Gas:Electricity CO2 ratio |  | 35.05%
Elec kWh | 0.13073 |  | Gas £ kWh | 0.04221 |  | Gas kWh/m3 | 11.3059 |  | Historic April C02 kg/day |  | 15.6 |  |  | C02 Gas intensity kg |  | 0.184 |  |  |  | Gas:Electricity cost ratio |  | 32.29%
See data notes below
Date | Meter | Grid kWh | £ Grid cost | Solar kWh | £ FIT | £ Net Elec |  | Gas m3 | Gas kWh | £ Gas | Temp | Use | £/Day Tot | C02 Grid | CO2 Gas | C02 SolarExp | Gross C02 | % Fall | Net CO2 | % Fall | Notes
2013-04-01 | 8 | 8 | 1.2102 | 21 | 3.7149 | -2.5047 |  | 6351.3 | 37 | 1.7262 | 3 | Mix | -0.77847 | 4.2 | 6.808 | -5.5125 | 11.008 | 29.44% | 5.4955 | 64.77% | 9 day test mixed usage - gas & HP (heat pump)
2013-04-02 | 16 | 8 | 1.2102 | 11 | 1.9459 | -0.73567 |  |  | 37 | 1.7262 | 1 | Mix | 0.99053 | 4.2 | 6.808 | -2.8875 | 11.008 | 29.44% | 8.1205 | 47.95% | 0.07757 | net for everything |  | 0.0086189 | per day
2013-04-03 | 24 | 8 | 1.2102 | 21 | 3.7149 | -2.5047 |  |  | 37 | 1.7262 | 2 | Mix | -0.77847 | 4.2 | 6.808 | -5.5125 | 11.008 | 29.44% | 5.4955 | 64.77% | First 2 days were old heating system + solar
2013-04-04 | 32 | 8 | 1.2102 | 16 | 2.8304 | -1.6202 |  |  | 37 | 1.7262 | 5 | Mix | 0.10603 | 4.2 | 6.808 | -4.2 | 11.008 | 29.44% | 6.808 | 56.36% | Gas figures averaged over initial period
2013-04-05 | 40 | 8 | 1.2102 | 21 | 3.7149 | -2.5047 |  |  | 37 | 1.7262 | 5 | Mix | -0.77847 | 4.2 | 6.808 | -5.5125 | 11.008 | 29.44% | 5.4955 | 64.77% | Heat pump mostly off at night
2013-04-06 | 48 | 8 | 1.2102 | 14 | 2.4766 | -1.2664 |  |  | 37 | 1.7262 | 2 | Mix | 0.45983 | 4.2 | 6.808 | -3.675 | 11.008 | 29.44% | 7.333 | 52.99% | Solar output was very high for season
2013-04-07 | 56 | 8 | 1.2102 | 12 | 2.1228 | -0.91257 |  |  | 37 | 1.7262 | 4 | Mix | 0.81363 | 4.2 | 6.808 | -3.15 | 11.008 | 29.44% | 7.858 | 49.63%
2013-04-08 | 64 | 8 | 1.2102 | 7 | 1.2383 | -0.02807 |  |  | 37 | 1.7262 | 5 | Mix | 1.6981 | 4.2 | 6.808 | -1.8375 | 11.008 | 29.44% | 9.1705 | 41.21%
2013-04-09 | 68 | 4 | 0.68733 | 23 | 4.0687 | -3.3814 |  |  | 37 | 1.7262 | 4 | Mix | -1.6552 | 2.1 | 6.808 | -6.0375 | 8.908 | 42.9% | 2.8705 | 81.6%
2013-04-10 | 83 | 15 | 2.1253 | 10 | 1.769 | 0.3563 |  | 6384.1 | 11 | 0.62874 | 3 | HP | 0.98504 | 7.875 | 2.024 | -2.625 | 9.899 | 36.54% | 7.274 | 53.37% | 5 day test heat pump (HP) only all day & night
2013-04-11 | 105 | 22 | 3.0404 | 2 | 0.3538 | 2.6866 |  |  | 11 | 0.62874 | 6 | HP | 3.3153 | 11.55 | 2.024 | -0.525 | 13.574 | 12.99% | 13.049 | 16.35% | 5.0653 | Electric | 3.1471 | Gas (water)
2013-04-12 | 135 | 30 | 4.0862 | 3 | 0.5307 | 3.5555 |  |  | 11 | 0.62874 | 5 | HP | 4.1842 | 15.75 | 2.024 | -0.7875 | 17.774 | -13.94% | 16.9865 | -8.888% | 8.2123 | total for everything |  | 1.6425 | per day
2013-04-13 | 146 | 11 | 1.6024 | 14 | 2.4766 | -0.87419 |  |  | 11 | 0.62874 | 8 | HP | -0.24545 | 5.775 | 2.024 | -3.675 | 7.799 | 50.01% | 4.124 | 73.56% | Solar was low for season & HP on all night
2013-04-14 | 160 | 14 | 1.9946 | 15 | 2.6535 | -0.65892 |  | 6389 | 11.0797 | 0.63211 | 12 | HP | -0.026814 | 7.35 | 2.0387 | -3.9375 | 9.3887 | 39.82% | 5.4512 | 65.06%
2013-04-15 | 165 | 5 | 0.81805 | 17 | 3.0073 | -2.1892 |  | 6393.3 | 48.6152 | 2.2165 | 11 | Gas | 0.027231 | 2.625 | 8.9452 | -4.4625 | 11.5702 | 25.83% | 7.1077 | 54.44% | 3 day test gas only heating - 4 hrs on - HP off
2013-04-16 | 171 | 6 | 0.94878 | 15 | 2.6535 | -1.7047 |  | 6397 | 41.8317 | 1.9301 | 8 | Gas | 0.22542 | 3.15 | 7.697 | -3.9375 | 10.847 | 30.47% | 6.9095 | 55.71% | -3.699 | Electric | 6.7926 | Gas
2013-04-17 | 178 | 7 | 1.0795 | 5 | 0.8845 | 0.19501 |  | 6402.2 | 58.7904 | 2.646 | 8 | Gas | 2.841 | 3.675 | 10.8174 | -1.3125 | 14.4924 | 7.1% | 13.1799 | 15.51% | 3.0936 | Net total | 1.0312 | per day spot heating
2013-04-18 | 189 | 11 | 1.6024 | 17 | 3.0073 | -1.4049 |  | 6403 | 9.0447 | 0.54621 | 8 | HP | -0.85869 | 5.775 | 1.6642 | -4.4625 | 7.4392 | 52.31% | 2.9767 | 80.92%
2013-04-19 | 197 | 8 | 1.2102 | 27 | 4.7763 | -3.5661 |  | 6404.1 | 12.4364 | 0.68937 | 8 | HP | -2.8767 | 4.2 | 2.2883 | -7.0875 | 6.4883 | 58.41% | -0.5992 | 103.8% | HP on 14 hrs, off at night - gas for water only
2013-04-20 | 204 | 7 | 1.0795 | 20 | 3.538 | -2.4585 |  | 6404.5 | 4.5223 | 0.35532 | 8 | HP | -2.1032 | 3.675 | 0.83211 | -5.25 | 4.5071 | 71.11% | -0.74289 | 104.8%
2013-04-21 | 217 | 13 | 1.8639 | 14 | 2.4766 | -0.61274 |  | 6405.1 | 6.7835 | 0.45076 | 9 | HP | -0.16198 | 6.825 | 1.2482 | -3.675 | 8.0732 | 48.25% | 4.3982 | 71.81%
2013-04-22 | 228 | 11 | 1.6024 | 11 | 1.9459 | -0.34349 |  | 6406 | 10.1753 | 0.59393 | 9 | HP | 0.25043 | 5.775 | 1.8722 | -2.8875 | 7.6472 | 50.98% | 4.7597 | 69.49%
2013-04-23 | 243 | 15 | 2.1253 | 8 | 1.4152 | 0.7101 |  | 6406.3 | 3.3918 | 0.3076 | 10 | HP | 1.0177 | 7.875 | 0.62408 | -2.1 | 8.4991 | 45.52% | 6.3991 | 58.98%
2013-04-24 | 255 | 12 | 1.7331 | 18 | 3.1842 | -1.4511 |  | 6407.1 | 9.0447 | 0.54621 | 9 | HP | -0.90486 | 6.3 | 1.6642 | -4.725 | 7.9642 | 48.95% | 3.2392 | 79.24%
2013-04-25 | 265 | 10 | 1.4717 | 16 | 2.8304 | -1.3587 |  | 6407.8 | 7.9141 | 0.49848 | 8 | HP | -0.86024 | 5.25 | 1.4562 | -4.2 | 6.7062 | 57.01% | 2.5062 | 83.93%
2013-04-26 | 272 | 7 | 1.0795 | 18 | 3.1842 | -2.1047 |  | 6408.9 | 12.4364 | 0.68937 | 7 | HP | -1.4153 | 3.675 | 2.2883 | -4.725 | 5.9633 | 61.77% | 1.2383 | 92.06%
2013-04-27 | 284 | 12 | 1.7331 | 20 | 3.538 | -1.8049 |  | 6409.3 | 4.5223 | 0.35532 | 7 | HP | -1.4496 | 6.3 | 0.83211 | -5.25 | 7.1321 | 54.28% | 1.8821 | 87.94%
2013-04-28 | 295 | 11 | 1.6024 | 14 | 2.4766 | -0.87419 |  | 6410 | 7.9141 | 0.49848 | 8 | HP | -0.37571 | 5.775 | 1.4562 | -3.675 | 7.2312 | 53.65% | 3.5562 | 77.2%
2013-04-29 | 303 | 8 | 1.2102 | 22 | 3.8918 | -2.6816 |  | 6411 | 11.3059 | 0.64165 | 9 | HP | -2.0399 | 4.2 | 2.0803 | -5.775 | 6.2803 | 59.74% | 0.50528 | 96.76%
2013-04-30 | 313 | 10 | 1.4717 | 27 | 4.7763 | -3.3046 |  | 6411.4 | 4.5223 | 0.35532 | 7 | HP | -2.9493 | 5.25 | 0.83211 | -7.0875 | 6.0821 | 61.01% | -1.0054 | 106.4%
n/a for 31st
Totals month to date |  | 313 | 45.8498 | 459 | 81.1971 | -35.3473 |  |  | 641.3309 | 32.0035 |  | Mix | -3.3438 | 164.325 | 118.0049 | -120.4875 | 282.3299 |  | 161.8424
Averages per day |  | 10.4333 | 1.5283 | 15.3 | 2.7066 | -1.1782 |  |  | 21.3777 | 1.0668 | 6.6333 | Mix | -0.11146 | 5.4775 | 3.9335 | -4.0163 | 9.411 | 39.67% | 5.3947 | 65.42%
Averages from 18th only |  | 10.3846 | 1.522 | 17.8462 | 3.157 | -1.635 |  |  | 8.0011 | 0.50215 | 8.2308 | HP | -1.1329 | 5.4519 | 1.4722 | -4.6846 | 6.9241 | 55.61% | 2.2395 | 85.64%
Previous weighted usage for these April temperatures of 11.1 kWh electricity and 6 cubmic metres of gas would have cost/day: | [10 empty] | 4.6432 |  | about £140 for the month.
Data sources & Formulae
B = New electric meter installed 2 April |  |  |  |  | C = Metered kWH imported from grid daily | [6 empty] | D = Units used from grid times cost/unit incl daily standing charge and VAT
E = Solar output from meter |  |  |  |  | F = Solar production times combined FIT | [6 empty] | G = Grid units cost less combined FIT reciept. Red = negative cost therefore net profit
I = Gas meter reading 8am cubic metres |  |  |  |  | J = Gas as metered converted to kWh | [6 empty] | K = Gas costs including VAT and daily standing charge
L = Proxy mean outside temperature - hi/lo mean |  |  |  |  | M = Whether using Gas CH or Heat Pump (HP) or mixed | [6 empty] | N = Net energy cost for the day (Electricity - FITs + Gas). Red = negative cost = net profit
P = C02 from grid electric imports (kg) Carbon Trust data |  |  |  |  | Q = C02 emissions from gas use (kg) Carbon Trust data | [6 empty] | R = C02 redeemed by exporting power to grid assuming 50% solar output export on average over the year
S - Gross CO2 footprint - gas + electricity |  |  |  |  | T & V = Based on 4 year historic April footprint of 15.6 kg C02/day | [6 empty] | U - Net C02 footprint = gas and imported electricity less 50% solar export estimated seasonal average
Nb. Usually 3 out of 5 rooms + kitchen/bathroom heated to 17C - 22C. Normally in past with gas central heating usually on 2 or 3 times a day, about 4 hours total, and in midwinter central heating was on all day when working from home.
These figures include all the phaffing around at the start of the month (dark blue) when trying out a combination of systems, and experimenting with keeping heat pump on all night. Settled down as of 18 April to pump on from 5 am only otherwise too hot at night.
Note that for the settled down period, currently 18 - 26 April, average key daily figures work out at net energy cost negative 88p, gross C02 7.03 kg representing a fall on the historic baseline of 55%, and net C02 2.69 kg representing a baseline fall of 83%.